College Town Infant/Primary School Budget

Maintenance Plan 2018/19

| Department | Cost Infants | Cost plus 7/12Juniors | Total | Budget Area |
| --- | --- | --- | --- | --- |
| Cleaning – | £2000 | £1750 | £3750 | 3021 |
| General maintenance | £3000 | £2000 | £5000 | 1001 to cover tools/paint/wood/nails/light bulbs etc |
| Reactive maintenance | £3000 | £1750 | £4750 | 1001 to cover doors/water leaks/boiler fixes/electrical etc unknown |

| Service Contracts Check costs look at last year!! | Who | Cost Infants | 7/12 juniors or full dependant on when | Total | Budget Area |
| --- | --- | --- | --- | --- | --- |
| SLA | Management Fee | £1105 | £645 | £1750 | 1030 |
| Fire extinguishers service |  | £250 | £0 | £250 | 1030 |
| Boiler service Fan convectors serviced | SLA | £575 | £236 | £811 | 1030 |
| Electrical testing Main electrical 5 year testing | Smith & howard | £4500 | £0 | £4500 | 1030 |
| plus biannual safety check | Smith & Howard | £320 | £160 | 480 | 1030 |
| Intruder Alarm Servicing | April - SCS | £105 | £0 | £105 | 1030 |
| Fire Alarm serving | Churches | £160 | £120 | £280 | 1030 |
| Gate service agreement | Harling | £500 | £500 | £1000 | 1030 |
| Sportsafe | Part of SLA | £60 | £60 | £120 | 1030 |
| PE SLA | Mending as result ofinspe | £200 | £200 | £400 | 1030 or PE curric |
| CCTV – Gemtec |  | £90 | £0 | £90 | 1030 |
| Emergency Lighting Testing | Churches | £130 | £65 | £195 | 1030 |
| Fire hydrants/lighting etc | Churches Items as result of Inspec est | £500 | £500 | £1000 | 1030 |
| Water Hygiene Testing | SLA | £277 | £165 | £442 | 1030 |
| Pat Testing |  | £260 | £260 | £520 | 1030 |
| Asbestos Inspections | SLA | £236 | £0 | £236 | 1030 |
|  | TOTAL | £5113.00 | £2911.00 | £12179.00 | 1030 |

| Condition survey D and C items | Additional info | Cost | Budget Area |
| --- | --- | --- | --- |
| C010309 - Inf | Atkins - Ceilings - Finish Main Building Replace individual tiles with medium quality tiles | £638.60 | 1001 |
| C010315 - Inf | Atkins - Ceilings - Finish Main Building Renew suspended ceiling | £766.05 | 1001 |
| C010330 - Inf | Atkins - Internal Walls, Windows & Doors - Linings & Finish Main Building Renew plastic laminated faced boards | £566.60 | 1001 |
| C010072 - Jun | AG030 & 031; Vinyl floor is poor, remainder of kitchen is fair, good units and kitchen equipment Childrens kitchen | £2108.00 | 1001 |
| C010086 - Jun | Allow for repointing of brickwork around DPC level, throughout the building | £0 | Site Contr on-going part of general maint |
| C010099 - Jun | Clean drainage channels to perimeter of fencing | £299.00 | Site Controller |
| Jun | Renew boiler house doors and windows unit with PVC units | £6258.00 |  |
| C010102 -Jun | Replace site controller hut door and redecorate | £350.00 |  |
| C010101 - Jun | Site managers store; Brickwork is generally poor, a number of cracks are noted to all elevations, consider monitoring and repair | £0 | On-going site controller |
| C010091 - Jun | Boundary fence; Some areas of damage noted, allow for repair to isolated areas | £988.00 |  |
| C011930 - Jun | Reset external manhole cover | £752.00 | 1001 |
|  | TOTAL | £12726.25 |  |

College Town Other Planned Works School Budget

| Planned Work | Additional info | Infants | 7/12 juniors | Total | Budget Area |
| --- | --- | --- | --- | --- | --- |
| Playground Markings | Repaint | £800 |  | £800 | 1001 – Part of General |
| Rolling redecoration | Repaint Small Areas | £500 |  |  | 1001 – part of General |
| Main corridor | Replacement Lights? | £1500 |  |  | 1001 |
| Repairs to electrics | From Visual Insp and 5 Year testing | £750 | £750 | £1500 | 1001 |
| Tmv to be installed | Toilets tmvs 5 of |  | £2000.00 | £2000 | 1001 |
|  | TOTAL |  |  |  |  |

Other

|  | Additional info | Infant | Junior Sept-March | Total | Budget Area |
| --- | --- | --- | --- | --- | --- |
| Petrol |  | £200.00 | £150 | £350 | 1100 |
| Tree survey cost/ | Awaiting New survey report but expect spend to be less than last year | £700.00 | £500 | £1200 | 1100 |
| Grounds work BFBC |  |  | £1500 | £1500 | 1100 |
| Tools | Cost of parts /hedge cutter and other grounds tools | £200.00 | £200 | £400 | 1100 |
| Salt / winter plan | Additional salt if needed On site 100 bags plus 15 school days | £285 | £0 | £285 | 1100 |
| Skip Hire |  | £1000 | £0 |  | 1001 |
| Pest Control |  | £160 | £320 | £480 | 1100 |
| New Salt Shed |  | £450 | £0 |  | 1100 |

| Kitchen | Total Cost | Budget Area | Update/Actual Spend |
| --- | --- | --- | --- |
| David eagle | Additional items for UIFSM cont £250 | 3010 |  |

| Planned Work | 1001 -Maint | 1030 Service Contracts | 1045 Building Works > £2000 | 1100 Grounds | 3021 Cleaning | Capital Budget | Comments | Update/Actual Spend |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| General Maint | £5000 |  |  |  |  |  |  |  |
| Reactive Maint/Cont | £4750 |  |  |  |  |  |  |  |
| Cleaning products | £0 |  |  |  | £3750 |  |  |  |
| SLA Management costs and Service contracts | £0 | £12200 |  |  |  |  |  |  |
| Condition Survey additional budget req | £12726 |  |  |  |  |  |  |  |
| Grounds, Lawn mower, pest, tools, salt | £0 |  |  | £3015 |  |  |  |  |
| Tree Survey | £0 |  |  | £1200 |  |  |  |  |
| Main corridor Lights | £1500 |  |  |  |  |  |  |  |
| Repairs to electrics | £1500 |  |  |  |  |  |  |  |
| TMVs | £2000 |  |  |  |  |  |  |  |
| Salt Shed | £450 |  |  |  |  |  |  |  |
| General skip hire | £1000 |  |  |  |  |  |  |  |
| TOTAL | £28926.00 | £12200.00 |  | £4215.00 | £3750.00 |  |  |  |