College Town School Budget

| Department | Cost | Budget Area |
| --- | --- | --- |
| General maintenance | £5000.00 | 1001 |
| Reactive maintenance | £6000.00 | 1001 |

| Service Contracts | Company | Cost | Budget Area |
| --- | --- | --- | --- |
| Fire extinguishers service, Fire Alarm, Emergency Lighting service plus repairs | Churches | £3000 | 1030 |
| Pat Testing | Hawkesworth | £620 | 1030 |
| Boiler service Fan convectors serviced | BF SLA | See sla costs | 5408 1030 |
| Asbestos | BF SLA | See sla costs | 5408 |
| BF Maint Management | BF SLA | See BF sla costs | 5408 |
| Electrical testing | Lextrix Electrics | £1200 2 x 6 monthly visual inspections | 1030 |
| Fire Alarm & Intruder Alarm Monitoring | SCS | £600 | 1030 |
| Gate service agreement | Harling Gates | £1000 (third is Alders) | 1030 |
| Doors | Loddon Doors | £750 | 1030 |
| PE Equip Service |  | £250 | 1030 |
| Water testing hertel | BF SLA | £225.31 Cost as result service £500 | 5408 1001 |
| Main Kitchen deep clean | Indepth Hygiene | Part of Catering contract Harrison pay | 1470 |
| Kitchen Ovens etc Service | Hobart | £845 | 1030 |
| Tree survey SLA | BF SLA | See BF SLA costs | 5411 |
| Air condition units | Crystal | £576 plus remedial £250 | 1030 |
| Lightning conductor service | BF SLA | £296 | 1030 |
| Water Filter kitchen | Brita | £200 | 1030 |
| Entrance Automatic Door | FAAC | £650 | 1030 |
| Outdoor Gym Equip | Freshair Fitness | £543 | 1030 |
| Cont as result of services | Various | Approx. £1300 | 1030 |
| Landscape | BF SLA | £166management fee Plus £3225 | 5408 1100 |

| Condition survey 1Ds, and highest priority 2Cs | Additional info | Cost | Budget Area |  |  |
| --- | --- | --- | --- | --- | --- |
| C024856 | Staff room window quote asked for | £250 |  |  |  |
| C024859 | Ceiling tile replacement - superceeded by need to replace whole ceiling see planned works below. |  |  |  |  |
| C025090 | Oil Boiler – look into replacement. Discuss with BF | No cost to school discuss with BF |  |  |  |
| C024691 | Kitchen bungalow once condensation issue rectified | £3500 |  |  |  |
| Several – see condition survey for detail | Brick work – Look at all areas of brickwork cracked to be repaired as one project. Propose start in 2022 with estimates for all work and carry out worst | Allow up to £3000 this year |  |  |  |
| C024803 | Nursery toilet wash basin and units – look at replacing unit | £1000 |  |  | Ok at present |
| C024701 | 4 external doors to be repainted | £1000 |  |  |  |

Planned Works & Purchases

| Planned | Additional info | Cost | Budget Area |
| --- | --- | --- | --- |
| Rolling planned redecoration | Repaint Year 1 classes | £3000 | 1001 |
| Flooring Moles and Hedghogs | Carp-a-tex | £2490 | 1001 |
| Canopy | Clovis Canopy | £40196 | Capital and 1045 |
| Groundwork | A&J Lanscapes | £11320 | 1045 |
| New Ball court Surface | A&J Landscapes | £14110 | 1045 |
| New Fence | Fencing around ball court | £10000 | 1001 |
| Skip hire | Regular skip hire average 1 a month | £3500 | 1001 |
| Reading Sheds | 2 x reading sheds to be funded by PTA | £7500 | 1100 income from PTA |
| FS2 Ceiling | Replace ceiling, tiles and ceiling falling down, inc new lighting | £10000 | Capital |

Grounds

| Site Cost | Additional info | Total Cost | Budget Area |
| --- | --- | --- | --- |
| Pest Control |  | £50 a month | 1100 |
| Petrol |  | £300.00 in maintenance budget |  |
| Tree survey cost/ | Awaiting tree survey report for 2021 | £2000 check may be less | 1100 |
| Grounds work BFBC |  |  | 1100 |
| Cedardale | Tree work booked 2021/22 not carried out – shrouding of lines required. Work to be carried out April | £1385 | 1100 |
| Replace tractors |  | £2500 | 1001 |
| Tools | Replacement drill and tools | General budget |  |
| Salt / winter plan |  | £700 | 1100 |

| Planned Work | 1001 -Maint | 1030 Service Contracts | 1100 Grounds | 1045 Building Works | Capital Budget | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| General Maint | £5000 |  |  |  |  |  |
| Reactive Maint/Cont | £6000 |  |  |  |  |  |
| SLA Management costs and Service contracts | £0 | £12500 |  |  |  |  |
| Condition Survey additional budget req | £8750 |  |  |  |  |  |
| Grounds maint and pest | £0 |  | £3825 |  |  |  |
| Grounds, salt, tree survey, petrol | £0 |  | £3000 |  |  |  |
| Tree work from 2021/22 | £0 |  | £1385 |  |  |  |
| Skip Hire | £3500 |  | £0 |  |  |  |
| Rolling Redecoration Programme Year 1 | £3000 |  | 0 |  |  |  |
| Flooring | £2490 |  | 0 |  |  | One off |
| FS2 Ceiling | 0 |  | 0 |  | £10000 |  |
| Canopy | £0 |  | 0 | £24196 | £16000 |  |
| Foundations | £0 |  | 0 | £11320 |  |  |
| New Surface | £0 |  | 0 | £14110 |  |  |
| Replace Fence | £10000 |  | 0 |  |  | One Off |
| Reading Sheds | £0 |  | £7500 |  |  | £7500 funded by PTA |
| Tractor | £2500 |  |  |  |  | One off |
| TOTAL | £41240.00 | £12500.00 | £15710.00 | £49626.00 | £26000.00 |  |

Planned maintenance redecoration plan

| Area | Walls | Floors | Approx. date for re decoration | Flooring Completed |
| --- | --- | --- | --- | --- |
| Nursery | Good condition | Good carpet replaced 2018 | 2028 |  |
| Reception | Fair to good | Floors good condition | 2023 |  |
| Rabbits | Poor | Good condition | 2022 |  |
| Hedgehog | Fair | Good repair / 2019 | 2022 | March/April 2022 |
| Moles | Fair | Good | 2022 | March/April 2022 |
| Owls | Good | Good | 2024 |  |
| Badger | Good | Good entrance poor | 2024 |  |
| Squirrels | Good | Good entrance poor | 2024 |  |
| Main hall | Fair | Fair small cracks in lino will need replacing 2022 onwards | 2023 |  |
| Offices | Fair | Carpet worn in places in small offices | 2023 |  |
| Red deer | Good | Good | 2025 |  |
| Muntjac | Good | Good | 2025 |  |
| Fox | Good | Good | 2025 |  |
| Stoats | Good | Fair | 2024 | Feb 2022 |
| Beaver | Good | Fair | 2024 | Feb 2022 |
| Otter | Good | fair | 2025 |  |
| Merlin | Good | Fair to poor | 2026 | Feb 2022 |
| Sparrow hawk | Good | Fair / poor | 2026 | Feb 2022 |
| Kestrel | Good | Fair / poor | 2026 | Feb 2022 |
| Osprey | Good | Fair/poor | 2027 | Feb 2022 |
| Red kite | Good | Fair / poor | 2027 | Feb 2022 |
| Buzzards | Good | Fair / poor | 2027 | Feb 2022 |

Other Planned Maint Summer 2022 Part of General Maint Budget

| Year 2 Classroom | Gutters overhaul, clear out C024806 |
| --- | --- |
| Outside wooden area in front of year 4 | Repaint timber – C024707 |
| ? | Apply sealant to expansion joint C024711 |
| External doors | Renew sealant around external doors – C024716 |