College Town School Budget

| Department | Cost | Budget Area |
| --- | --- | --- |
| General maintenance | £3500.00 | 1001 |
| Reactive maintenance | £5000.00 | 1001 |

| Service Contracts | Company | Cost | Budget Area |
| --- | --- | --- | --- |
| Fire extinguishers service | Churches | £1500 | 1030 |
| Fire Alarm Service | Churches | £380 plus £500 | 1030 |
| Emergency Lighting | Churches | £320 plus £500 | 1030 |
| Pat Testing | Hawkesworth | £580 | 1030 |
| Boiler service Fan convectors serviced | BF SLA | £386.25 possible replacement fan convector in hall and year 4 and the School bungalow £1000 | 5408 1030 |
| Asbestos | BF SLA | £38.63 | 5408 |
| BF MAint Management | BF SLA | £643.73 | 5408 |
| Electrical testing | Artizan Electrics | £800 2 x 6 monthly visual inspections | 1030 |
| Alarm testing | SCS | £150 | 1030 |
| Gate service agreement | Harling Gates | £1400 | 1030 |
| Doors | Loddon Doors | £500 | 1030 |
| PE Equip Service |  | £150 | 1030 |
| Water testing hertel | BF SLA | £225.31 Cost as result service £500 | 5408 1030 |
| Main Kitchen | Cleaning | £857.00 approx a year as detailed below | 1470 |
| Kitchen Equip Repairs/Repolacement | Small repairs/ replacement os small electricals /new fridge sills | £1500-2500.00 Cost of replacement cold sever unit is approx. £1800.00 |  |
| Tree survey SLA | BF SLA | £319 | 5411 |
| Air condition units | Crystal | £300 per visit x 2 = £600 plus £250 | 1030 |
| Landscape | BF SLA | £161 management fee Plus £3000 (£250 a month) | 5408 1100 |

As from the 1at April the school will be responsible for the deep clean

High level cleaning including kitchen ventilation systems to comply with insurance requirements

1. The ventilation filters are required by insurance to be cleaned termly. The next order will be required to be placed at start of the summer term.

2. The council use JC Cleaning. Cost £70.00 per term per canopy at your school.

3. Other high level cleaning is carried out on an as needed basis. You can pick from this menu item what you need to have done

Main kitchen

High level atriums x 2	£50.00

Ceiling	£45.00

Window behind dishwasher	£30.00

To chemically degrease 95sq ft of s/s extract canopy including plenham chamber	£332.00

De-scaling of ovens

The Hobart combi oven should not require de-scaling. The combis have filters which needs replacing annually to stop de-scaling.

We use Brita (last replaced in November 2019

The Rational combi uses de-scaling tablets supplied by the caterer. (Rational CARE tablets

The expected life expectancy given above is a best guess. Equipment could last longer or it could last less.

| Condition survey | Additional info | Cost | Budget Area |
| --- | --- | --- | --- |
| No D1s |  |  |  |
| C1s and C2s |  |  |  |
| C010309 | Replace ceiling tiles FS2 | £670 | 1001 |
| C010315 | Replace ceiling tiles staff workroom | £800 | 1001 |
| C010054 | Replace windows with upvc KS2 staffroom and kitchen. 4 windows | £2000 | 1001 |
|  | Replace KS2 boiler house door | £1000 | 1001 |
| C3s |  |  |  |
| C009623 | Replace external halogen lighting with LED | £20 a time | Part of general maint costs |
| C009633 | Replace external halogen lighting with LED around Nursery | £20 a time | Part of general maint costs |
| C010090 | Redecorate external masonry Kiln/store room KS2 | £850 | 1001 |

Planned Work

| Planned Work /possibilities of planned work | Additional info | Cost | Budget Area |
| --- | --- | --- | --- |
| Rolling planned redecoration | Paint work to be painted mushroom skirting and door frames | £2000 | 1001 |
| Drains | Nursery Drains | £2000 | 1001 |
| Paint playground | Summer 2020 | £300 | Part general maint |
| Replace Shed | One in FS2 and two in FS1 | £750 x 3 = £2250 | 1100 |
| Kiln room plant room | New toilets use existing sewage to keep cost down Turn back into operational toilets for the pupils at lunchtimes and breaks | £12-£ 15.000.00 ? | Wish list not in current budget |
| New extractor fan to be fitted | Cost of replacement £2800.00 form Berkshire mechanical | £2800.00 | 1001 |
| New fence post planned summer | Year 5 area possible site controller to build and repair existing fence |  | General maint |
| Toilets year 3 and 4 | New toilets /refit | £30000 | 1045 |
| Electrical work as a result of visual and other inspections | Lighting – replace with LED lights in some areas. Replace damaged lights with LEDs. Mend small electrical faults found | £5000 | 1001 |

| Site Cost | Additional info | Total Cost | Budget Area |
| --- | --- | --- | --- |
| Petrol |  | £200 | Gen maint |
| Tree survey cost/ |  | £1000 | 1100 |
| Gate Upgrade | Bring gates up to spec | £5000 | Capital |
| Tools | Replacement drill and tools | £300 | Gen maint |
| Salt / winter plan | On site 100 bags | £500 | 1100 |
| Gazebos, other timber painting | Ongoing | £500 | Gen maint |
| Skip hire | Ongoing x 5 | £2000 | 1001 |
| Area outside rec room | New Fence | £1000 | 1100 |
| Pest |  | £50 a month x 8 = £400 | 1100 |

| School Bungalow | Cost | Budget Area |
| --- | --- | --- |
| Still waiting for the environmental report from BFBC also new electrical report completed feb 2020 | £2000 cont? | 1001 |

Capital

| Project | Provider | Cost | Comments |
| --- | --- | --- | --- |
| Boundary Fence | Through BF | £42000 | Being managed by BF and paid direct |

| Planned Work | 1001 -Maint | 1030 Service Contracts | 1100 Grounds | Kitchen Add costs cleaning and equip | 1045 Building Works | Capital Budget | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- |
| General Maint | £3500 |  |  |  |  |  |  |
| Reactive Maint/Cont | £5000 |  |  |  |  |  |  |
| Cleaning products | £0 |  |  |  |  |  |  |
| SLA Management costs and Service contracts | £0 | £9000 |  |  |  |  |  |
| Condition Survey additional budget req | £5320 |  |  |  |  |  |  |
| Grounds maint and pest | £0 |  | £3400 |  |  |  | Fencing one off £1000 |
| Grounds, Lawn mower, tools, salt, tree survey | £0 |  | £2500 |  |  |  |  |
| Sheds | £0 |  | £2250 |  |  |  | One off |
| Skip Hire | £2000 |  |  |  |  |  |  |
| Gate repairs | 0 |  |  |  |  | £5000 |  |
| New Extractor Fan | £2800 |  |  |  |  |  | One off |
| Nursery Drains | £2000 |  |  |  |  |  | One off |
| Rolling Decoration | £2000 |  |  |  |  |  |  |
| Toilets year 3 and 4 | £0 |  |  |  | £30000 |  | One off |
| Bungalow add works | £2000 |  |  |  |  |  | One off |
| Electrical work inc lights | £5000 |  |  |  |  |  | One off |
| Kitchen Cleaning |  |  |  | £1000 |  |  |  |
| Kitchen Maintenance |  |  |  | £2500 |  |  |  |
| TOTAL | £29620.00 | £9000.00 | £8150.00 |  | £30000 | £5000.00 |  |